## Sheet1
CAPACITOR BANK HEALTH STATUS MONITORING
Measure capacitor current with the help of Tong tester/Ammeter periodically (at least once in two months) and maintain the records
Installation date : | [8 empty] | Guarantee Period : | [8 empty] | Capacitor Make :
Panel Name :
Sr. No | Capacitor Rating Name plate data |  |  |  | Unit | January |  |  | March |  |  | May |  |  | July |  |  | September |  |  | November |  |  | January
[6 empty] | Date: |  |  | Date: |  |  | Date: |  |  | Date: |  |  | Date: |  |  | Date: |  |  | Date:
[6 empty] | VA* = |  |  | VA* = |  |  | VA* = |  |  | VA* = |  |  | VA* = |  |  | VA* = |  |  | VA* =
| KVAR | VR | IR (at VR) | Date |  | IR | IY | IB | IR | IY | IB | IR | IY | IB | IR | IY | IB | IR | IY | IB | IR | IY | IB | IR | IY | IB
CAP 1 |  |  |  |  | Amp
CAP 2 |  |  |  |  | Amp
CAP 3 |  |  |  |  | Amp
CAP 4 |  |  |  |  | Amp
CAP 5 |  |  |  |  | Amp
CAP 6 |  |  |  |  | Amp
CAP 7 |  |  |  |  | Amp
CAP 8 |  |  |  |  | Amp
CAP 9 |  |  |  |  | Amp
CAP 10 |  |  |  |  | Amp
CAP 11 |  |  |  |  | Amp
CAP 12 |  |  |  |  | Amp
CAP 13 |  |  |  |  | Amp
CAP 14 |  |  |  |  | Amp
CAP 15 |  |  |  |  | Amp
CAP 16 |  |  |  |  | Amp
CAP 17 |  |  |  |  | Amp
CAP 18 |  |  |  |  | Amp
CAP 19 |  |  |  |  | Amp
CAP 20 |  |  |  |  | Amp
CAP 21 |  |  |  |  | Amp
CAP 22 |  |  |  |  | Amp
CAP 23 |  |  |  |  | Amp
CAP 24 |  |  |  |  | Amp
CAP 25 |  |  |  |  | Amp
CAP 26 |  |  |  |  | Amp
CAP 27 |  |  |  |  | Amp
CAP 28 |  |  |  |  | Amp
CAP 29 |  |  |  |  | Amp
VR = rated Voltage, VA = Voltage at capacitor bank terminal
Measure per bank per phase AMPERE (Ir, Iy, Ib) with tong tester and line Voltage VA (Voltmeter) in above table.